Short-term impact of cooking on indoor PM2.5: Seven paired repeated measurements in a single kitchen

Research Question

In the same kitchen, does cooking lead to a short-term increase in PM₂.₅? What is the typical magnitude (ΔPM₂.₅), and is the increase consistent across seven events?

Data & Methods

I used an AirBeam sensor to record PM₂.₅ time series in the same kitchen. I observed seven cooking events, each including continuous measurements before and after cooking started.

For each event, define t0 as the time when cooking starts.

Pre (baseline) window: [t0−20 min, t0), PM₂.₅ median as PM_pre

Post window: [t0, t0+20 min), PM₂.₅ median as PM_post

Primary effect size: ΔPM = PM_post − PM_pre

Secondary (peak) outcome: PM_peak = max(PM₂.₅) in [t0, t0+20 min), and ΔPeak = PM_peak − PM_pre

Limitations & Improvements

- Only seven events; limited statistical power.

- Uncontrolled ventilation and cooking type introduce residual confounding.

- Low-cost sensor readings may be affected by humidity/temperature; sensor placement affects representativeness.

- Future work: stratify by cooking type, standardize ventilation, increase repetitions, and include non-cooking control periods.